## Cost-Benefit
Business as usual
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
C02 emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
Benefits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
V (3.5%) | 1 | 0.96618 | 0.93351 | 0.90194 | 0.87144 | 0.84197 | 0.8135 | 0.78599 | 0.75941 | 0.73373 | 0.70892 | 0.68495 | 0.66178 | 0.6394 | 0.61778 | 0.59689 | 0.57671 | 0.5572 | 0.53836 | 0.52016
B-C | -628.32 | -607.0725 | -586.5434 | -566.7086 | -547.5446 | -529.0286 | -511.1387 | -493.8538 | -477.1535 | -461.0178 | -445.4279 | -430.3651 | -415.8117 | -401.7504 | -388.1647 | -375.0383 | -362.3559 | -350.1023 | -338.2631 | -326.8242
NPV | -1256.64
Ofert N°1 : 'Ecoambiente Ltd'
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 1 | 2017.568
Photovoltaic modules 1 | 31906.8349
Inversor 1 | 12609.8
anchor-support structure 1 | 7349.712
Other equipment and system materials 1 | 9943.728
Workforce 1 | 11240.736
Administrative spending 1 | 2161.68
Photovoltaic system connection 1 | 274.5334
Measuring device 1 | 422.2482
Direct cost 1 | 77926.8404
General spending (5% of direct cost) 1 | 3896.3417
Utilities (10% of direct cost) 1 | 7792.6835
Net value offer 1 | 896158.8493
I.V.A tax (19% of net value offer) 1 | 17027.0144
Total value installation 1 | 106642.88
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 13114.3015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (3.5%) | 1 | 0.96618 | 0.93351 | 0.90194 | 0.87144 | 0.84197 | 0.8135 | 0.78599 | 0.75941 | 0.73373 | 0.70892 | 0.68495 | 0.66178 | 0.6394 | 0.61778 | 0.59689 | 0.57671 | 0.5572 | 0.53836 | 0.52016
B-C | -92900.2585 | 13379.8532 | 13293.2863 | 13207.2358 | 13121.6983 | 13036.6746 | 12952.1641 | 12868.1659 | 12784.6791 | 12701.7027 | 12619.2355 | 12537.2762 | 12455.8234 | 12374.8772 | 12294.4344 | 12214.495 | 12135.0556 | 12056.1174 | 11977.6769 | 11899.7323
NPV | 147009.9253
Ofert N°2 = 'Ecolife'
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 2 | 3864.4786
Photovoltaic modules 2 | 32723.1415
Inversor 2 | 11113.4433
anchor-support structure 2 | 1202.5037
Other equipment and system materials 2 | 1806.196
Workforce 2 | 4856.5874
Administrative spending 2 | 1722.1384
Photovoltaic system connection 2 | 695.9125
Measuring device 2 | 554.8312
Direct cost 1 | 69362.0452
General spending (5% of direct cost) 2 | 3468.1028
Utilities (10% of direct cost) 2 | 3468.1028
Net value offer 2 | 76298.2494
I.V.A tax (19% of net value offer) 2 | 14496.6671
Total value installation 1 | 90794.9165
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 13114.3015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (3.5%) | 1 | 0.96618 | 0.93351 | 0.90194 | 0.87144 | 0.84197 | 0.8135 | 0.78599 | 0.75941 | 0.73373 | 0.70892 | 0.68495 | 0.66178 | 0.6394 | 0.61778 | 0.59689 | 0.57671 | 0.5572 | 0.53836 | 0.52016
B-C | -90794.9165 | 13480.3362 | 13390.3714 | 13301.0379 | 13212.3283 | 13124.2398 | 13036.7682 | 12949.909 | 12863.6579 | 12778.0107 | 12692.963 | 12608.5105 | 12524.6489 | 12441.3752 | 12358.6837 | 12276.5716 | 12195.033 | 12114.0666 | 12033.6665 | 11953.8284
NPV | 150541.0904
Sensitivity analysis
-20% electricity price
Ofert N°2 = Ecolife
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 2 | 3864.4786
Photovoltaic modules 2 | 32723.1415
Inversor 2 | 11113.4433
anchor-support structure 2 | 1202.5037
Other equipment and system materials 2 | 1806.196
Workforce 2 | 4856.5874
Administrative spending 2 | 1722.1384
Photovoltaic system connection 2 | 695.9125
Measuring device 2 | 554.8312
Direct cost 1 | 69362.0452
General spending (5% of direct cost) 2 | 3468.1028
Utilities (10% of direct cost) 2 | 3468.1028
Net value offer 2 | 76298.2494
I.V.A tax (19% of net value offer) 2 | 14496.6671
Total value installation 1 | 90794.9165
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 16261.7218 | 15684.7048 | 15666.7118 | 15648.8451 | 15631.1032 | 15613.4855 | 15595.9912 | 15578.6193 | 15561.3691 | 15544.2397 | 15527.2301 | 15510.3396 | 15493.5673 | 15476.9126 | 15460.3743 | 15443.9518 | 15427.6441 | 15411.4508 | 15395.3708 | 15379.4032
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (3.5%) | 1 | 0.96618 | 0.93351 | 0.90194 | 0.87144 | 0.84197 | 0.8135 | 0.78599 | 0.75941 | 0.73373 | 0.70892 | 0.68495 | 0.66178 | 0.6394 | 0.61778 | 0.59689 | 0.57671 | 0.5572 | 0.53836 | 0.52016
B-C | -90794.9165 | 16313.0248 | 16295.0318 | 16277.1651 | 16259.4232 | 16241.8055 | 16224.3112 | 16206.9393 | 16189.6891 | 16172.5597 | 16155.5501 | 16138.6596 | 16121.8873 | 16105.2326 | 16088.6943 | 16072.2718 | 16055.9641 | 16039.7708 | 16023.6908 | 16007.7232
NPV | 216194.4779
Sensitivity analysis 1
+20% electricity price
Ofert N°2 = Ecolife
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 2 | 3864.4786
Photovoltaic modules 2 | 32723.1415
Inversor 2 | 11113.4433
anchor-support structure 2 | 1202.5037
Other equipment and system materials 2 | 1806.196
Workforce 2 | 4856.5874
Administrative spending 2 | 1722.1384
Photovoltaic system connection 2 | 695.9125
Measuring device 2 | 554.8312
Direct cost 1 | 69362.0452
General spending (5% of direct cost) 2 | 3468.1028
Utilities (10% of direct cost) 2 | 3468.1028
Net value offer 2 | 76298.2494
I.V.A tax (19% of net value offer) 2 | 14496.6671
Total value installation 1 | 90794.9165
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 10491.4412 | 10543.8983 | 10561.8912 | 10579.758 | 10597.4999 | 10615.1176 | 10632.6119 | 10649.9837 | 10667.2339 | 10684.3634 | 10701.3729 | 10718.2634 | 10735.0358 | 10751.6905 | 10768.2288 | 10784.6512 | 10800.9589 | 10817.1522 | 10833.2322 | 10849.1998
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (3.5%) | 1 | 0.96618 | 0.93351 | 0.90194 | 0.87144 | 0.84197 | 0.8135 | 0.78599 | 0.75941 | 0.73373 | 0.70892 | 0.68495 | 0.66178 | 0.6394 | 0.61778 | 0.59689 | 0.57671 | 0.5572 | 0.53836 | 0.52016
B-C | -90794.9165 | 11172.2183 | 11190.2112 | 11208.078 | 11225.8199 | 11243.4376 | 11260.9319 | 11278.3037 | 11295.5539 | 11312.6834 | 11329.6929 | 11346.5834 | 11363.3558 | 11380.0105 | 11396.5488 | 11412.9712 | 11429.2789 | 11445.4722 | 11461.5522 | 11477.5198
NPV | 124435.3071
Sensitivity 2 Chilean discount rate (10%)
Ofert N°2 = Ecolife
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 2 | 3864.4786
Photovoltaic modules 2 | 32723.1415
Inversor 2 | 11113.4433
anchor-support structure 2 | 1202.5037
Other equipment and system materials 2 | 1806.196
Workforce 2 | 4856.5874
Administrative spending 2 | 1722.1384
Photovoltaic system connection 2 | 695.9125
Measuring device 2 | 554.8312
Direct cost 1 | 69362.0452
General spending (5% of direct cost) 2 | 3468.1028
Utilities (10% of direct cost) 2 | 3468.1028
Net value offer 2 | 76298.2494
I.V.A tax (19% of net value offer) 2 | 14496.6671
Total value installation 1 | 90794.9165
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 13114.3015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (10%) | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351
B-C | -90794.9165 | 13385.7908 | 13304.421 | 13222.9011 | 13141.2949 | 13059.664 | 12978.0629 | 12896.5405 | 12815.1412 | 12733.9046 | 12652.8665 | 12572.0592 | 12491.5113 | 12411.2501 | 12331.2973 | 12251.6748 | 12172.3996 | 12093.4907 | 12014.9612 | 11936.8236
NPV | 149671.1387
Sensitivity 3: Ofert 1+V10%+20% $ energy
Ofert N°1 : 'Ecoambiente Ltd'
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs
Detail engineering 1 | 2017.568
Photovoltaic modules 1 | 31906.8349
Inversor 1 | 12609.8
anchor-support structure 1 | 7349.712
Other equipment and system materials 1 | 9943.728
Workforce 1 | 11240.736
Administrative spending 1 | 2161.68
Photovoltaic system connection 1 | 274.5334
Measuring device 1 | 422.2482
Direct cost 1 | 77926.8404
General spending (5% of direct cost) 1 | 3896.3417
Utilities (10% of direct cost) 1 | 7792.6835
Net value offer 1 | 896158.8493
I.V.A tax (19% of net value offer) 1 | 17027.0144
Total value installation 1 | 106642.88
Maintenance costs
cleaning supplies |  | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
maintenance |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51
Expert visit check |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Artifacts replacement | [5 empty] | 128.2597 |  |  |  | 648.504 |  | 128.2597 | [5 empty] | 128.2597
Benefits
electricity savings | 10491.4412 | 10543.8983 | 10561.8912 | 10579.758 | 10597.4999 | 10615.1176 | 10632.6119 | 10649.9837 | 10667.2339 | 10684.3634 | 10701.3729 | 10718.2634 | 10735.0358 | 10751.6905 | 10768.2288 | 10784.6512 | 10800.9589 | 10817.1522 | 10833.2322 | 10849.1998
CO2 reduced emissions | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32 | 628.32
V (10%) | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351
B-C | -95523.1188 | 11077.6728 | 11104.2608 | 11129.9412 | 11154.7865 | 11178.8617 | 11202.2266 | 11224.9353 | 11247.0372 | 11268.5772 | 11289.5964 | 11310.1321 | 11330.2181 | 11349.8854 | 11369.1623 | 11388.0744 | 11406.6455 | 11424.8964 | 11442.8469 | 11460.515
NPV | 118837.1531

## CH$ to US$
|  |  | Ecoambiente |  | Ecolife
(25/05/2019) | US Dolar |  | Chilean | Dolar | Chilean | Dolar
$1 Chilean = | 0.0014411 | Electricity savings per year | 9100007 | 12740.0098
1400000
Costs
|  | Detail engineering 1 | 1400000 | 2017.568 | 2681580 | 3864.4786
|  | Photovoltaic modules 1 | 22140304 | 31906.8349 | 22706743 | 32723.1415
|  | Inversor 1 | 8750000 | 12609.8 | 7711671 | 11113.4433
|  | anchor-support structure 1 | 5100000 | 7349.712 | 834423 | 1202.5037
|  | Other equipment and system materials 1 | 6900000 | 9943.728 | 1253328 | 1806.196
|  | Workforce 1 | 7800000 | 11240.736 | 3370009 | 4856.5874
|  | Administrative spending 1 | 1500000 | 2161.68 | 1195000 | 1722.1384
|  | Photovoltaic system connection 1 | 190500 | 274.5334 | 482897 | 695.9125
|  | Measuring device 1 | 293000 | 422.2482 | 385000 | 554.8312
|  | Direct cost 1 | 54073804 | 77926.8404 | 48130652 | 69362.0452
|  | General spending (5% of direct cost) 1 | 2703690 | 3896.3417 | 2406533 | 3468.1028
|  | Utilities (10% of direct cost) 1 | 5407380 | 7792.6835 | 2406533 | 3468.1028
|  | Net value offer 1 | 621848874 | 896158.8493 | 52943717 | 76298.2494
|  | I.V.A tax (19%) 1 | 11815126 | 17027.0144 | 10059306 | 14496.6671
|  | Total value 1 | 74000000 | 106642.88 | 63003023 | 90794.9165
|  | Maintenance |  | 0
|  | cleaning supplies | 12000 | 17.2934
|  | maintenance | 35118 | 50.6093
|  | Expert visit check | 25000 | 36.028
Artifacts replacement
|  | battery | 89000 | 128.2597
|  | inversor | 450000 | 648.504
|  | charger controler (20 years lifespan) | 155000

## CH$ to US$ benefits
year | Yearly estimated saving CH | Yearly estimated saving US$ |  | 0.0014411
1 | 9100076 | 13114.3015
2 | 8918075 | 12852.0162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 8855648 | 12762.0514
4 | 8793659 | 12672.7179
5 | 8732103 | 12584.0083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 8670978 | 12495.9198
7 | 8610281 | 12408.4482
8 | 8550009 | 12321.589 | 13114.3015 | 13114.3015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
9 | 8490159 | 12235.3379 | 12852.0162
10 | 8430728 | 12149.6907 | 12762.0514
11 | 8371713 | 12064.643 | 12672.7179
12 | 8313111 | 11980.1905 | 12584.0083
13 | 8254919 | 11896.3289 | 12495.9198
14 | 8197135 | 11813.0552 | 12408.4482
15 | 8139755 | 11730.3637 | 12321.589
16 | 8082777 | 11648.2516 | 12235.3379
17 | 8026197 | 11566.713 | 12149.6907
18 | 7970014 | 11485.7466 | 12064.643
19 | 7914224 | 11405.3465 | 11980.1905
20 | 7858824 | 11325.5084 | 11896.3289
11813.0552
11730.3637
88.26 | 0.12719 |  | 11648.2516
11566.713
11485.7466
11405.3465
11325.5084

## CO2 calculation
Ton-year | USD17.6 per ton of CO2 (EEX, 2018).
35.7 | 17.6 | 628.32

## Sensitivity analysis
Electricity | -20
0.2
15737.1015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
16261.7218 | 15684.7048 | 15666.7118 | 15648.8451 | 15631.1032 | 15613.4855 | 15595.9912 | 15578.6193 | 15561.3691 | 15544.2397 | 15527.2301 | 15510.3396 | 15493.5673 | 15476.9126 | 15460.3743 | 15443.9518 | 15427.6441 | 15411.4508 | 15395.3708 | 15379.4032
Electricity | 20
0.2
13114.3015 | 12852.0162 | 12762.0514 | 12672.7179 | 12584.0083 | 12495.9198 | 12408.4482 | 12321.589 | 12235.3379 | 12149.6907 | 12064.643 | 11980.1905 | 11896.3289 | 11813.0552 | 11730.3637 | 11648.2516 | 11566.713 | 11485.7466 | 11405.3465 | 11325.5084
10491.4412 | 10543.8983 | 10561.8912 | 10579.758 | 10597.4999 | 10615.1176 | 10632.6119 | 10649.9837 | 10667.2339 | 10684.3634 | 10701.3729 | 10718.2634 | 10735.0358 | 10751.6905 | 10768.2288 | 10784.6512 | 10800.9589 | 10817.1522 | 10833.2322 | 10849.1998